## Slide 1: AusEnergy Demand Analysis

## Slide 2: Insight on main questions asked
What does demand look like over time?
01
Energy Demand is consistent throughout the 2015-2020 time range however we can notice 3 spikes going above 160,000 MWh
each January for 3 years in a row.
What does extreme demand look like, and under what circumstances does this happen?
02
Extreme demand goes up to 160,000 MWh on the beginning of every year.
How do factors like the weather and holidays affect demand?
03
Hint: Click on “i” icon to go to the relevant slide.
Temperature and solar exposure changes affects demand while rainfall does not.
Also on no school day we can notice higher demand and lower on working days with temperature raise.

## Slide 3: Top and Bottom 20 Demand
Top 20 Days for Demand
We can see the biggest demand
during winter months
01
Rank | Date | Day of Week | Month | Year | Week | School day | Holiday | Min. temperature | Max. temperature | Solar Exposure | Rainfall | Demand | RRP | Revenue
1 | 31 January 2020 | Friday | January | 2020 | 5 | Y | N | 21.5 | 42.9 | 18.3 | 0.0 | 170,653.84 | $2,809.44 | $479,441,300.35
2 | 25 January 2019 | Friday | January | 2019 | 4 | N | N | 21.1 | 42.8 | 25.3 | 0.0 | 168,894.85 | $906.44 | $153,092,580.38
3 | 19 January 2018 | Friday | January | 2018 | 3 | N | N | 22.5 | 40.3 | 30.6 | 0.0 | 165,070.60 | $647.57 | $106,895,455.70
4 | 1 March 2019 | Friday | March | 2019 | 9 | Y | N | 22.6 | 38.1 | 22.3 | 0.0 | 163,682.04 | $1,284.80 | $210,298,664.70
5 | 29 January 2018 | Monday | January | 2018 | 5 | N | N | 27.8 | 33.5 | 1.7 | 0.0 | 160,437.57 | $107.66 | $17,272,295.64
6 | 8 March 2016 | Tuesday | March | 2016 | 11 | Y | N | 19.9 | 38.9 | 20.8 | 0.6 | 160,285.02 | $253.03 | $40,557,244.36
7 | 13 January 2016 | Wednesday | January | 2016 | 3 | N | N | 16.8 | 42.2 | 25.0 | 0.2 | 160,011.08 | $545.74 | $87,324,097.91
8 | 28 January 2018 | Sunday | January | 2018 | 5 | N | N | 22.7 | 38.1 | 28.5 | 0.0 | 159,436.69 | $290.42 | $46,303,546.75
9 | 7 February 2018 | Wednesday | February | 2018 | 6 | Y | N | 18.7 | 37.4 | 27.1 | 0.0 | 159,307.32 | $624.26 | $99,449,336.42
10 | 18 December 2015 | Friday | December | 2015 | 51 | N | N | 19.4 | 35.4 | 31.2 | 0.0 | 158,052.89 | $81.19 | $12,832,707.10
11 | 23 February 2016 | Tuesday | February | 2016 | 9 | Y | N | 18.1 | 39.4 | 19.4 | 0.0 | 156,924.83 | $66.96 | $10,507,789.63
12 | 7 December 2018 | Friday | December | 2018 | 49 | Y | N | 25.1 | 38.0 | 27.1 | 0.0 | 156,648.41 | $177.86 | $27,861,770.80
13 | 24 January 2019 | Thursday | January | 2019 | 4 | N | N | 17.3 | 40.8 | 30 | 0.0 | 155,891.35 | $4,549.65 | $709,250,317.44
14 | 9 February 2017 | Thursday | February | 2017 | 6 | Y | N | 20.3 | 36.0 | 24.4 | 0.0 | 155,060.61 | $156.70 | $24,297,929.59
15 | 19 December 2015 | Saturday | December | 2015 | 51 | N | N | 19.2 | 41.2 | 20.5 | 0.0 | 154,924.89 | $69.33 | $10,740,759.94
16 | 30 January 2020 | Thursday | January | 2020 | 5 | Y | N | 16.4 | 39.4 | 29.3 | 0.0 | 154,816.49 | $1,044.45 | $161,697,665.44
17 | 18 January 2018 | Thursday | January | 2018 | 3 | N | N | 16.6 | 40.0 | 30.8 | 0.0 | 154,648.07 | $1,210.14 | $187,145,493.76
18 | 30 November 2017 | Thursday | November | 2017 | 48 | Y | N | 22.5 | 34.9 | 23.1 | 0.0 | 154,632.34 | $131.49 | $20,332,828.11
19 | 7 January 2015 | Wednesday | January | 2015 | 2 | N | N | 18.9 | 37.4 | 20.7 | 0.0 | 153,514.82 | $48.31 | $7,416,655.48
20 | 22 January 2015 | Thursday | January | 2015 | 4 | N | N | 18.7 | 35.8 | 23.1 | 0.0 | 153,232.10 | $35.23 | $5,398,483.55

## Slide 4: Top and Bottom 20 Demand
Bottom 20 Days for Demand
We can see the lowest demand
during the weekends
01
Rank | Date | Day of Week | Month | Year | Week | School day | Holiday | Min. temperature | Max. temperature | Solar Exposure | Rainfall | Demand | RRP | Revenue
2087 | 11 April 2020 | Saturday | April | 2020 | 15 | N | Y | 13 | 15.7 | 1.11 | 2.4 | 92,097.07 | $19.93 | $1,835,872.72
2088 | 18 November 2018 | Sunday | November | 2018 | 47 | Y | N | 1.9 | 26.6 | 30.1 | 0.0 | 92,043.13 | $89.25 | $8,214,683.08
2089 | 14 January 2018 | Sunday | January | 2018 | 3 | N | N | 1.12 | 19.5 | 27.5 | 15.0 | 92,021.68 | $66.66 | $6,134,126.72
2090 | 11 January 2020 | Saturday | January | 2020 | 2 | N | N | 13.5 | 19.3 | 18.2 | 15.6 | 91,886.61 | $22.78 | $2,093,594.13
2091 | 12 January 2020 | Sunday | January | 2020 | 3 | N | N | 14.2 | 19.9 | 21.9 | 0.0 | 91,797.60 | $45.63 | $4,188,532.91
2092 | 19 February 2017 | Sunday | February | 2017 | 8 | Y | N | 1.11 | 17.3 | 9.9 | 0.0 | 91,280.03 | $53.12 | $4,848,813.95
2093 | 14 October 2018 | Sunday | October | 2018 | 42 | Y | N | 1.12 | 27.3 | 22.1 | 0.0 | 90,918.62 | $56.86 | $5,170,011.35
2094 | 18 December 2016 | Sunday | December | 2016 | 52 | Y | N | 10 | 17.5 | 30.3 | 0.0 | 90,911.09 | $26.49 | $2,408,562.00
2095 | 17 November 2018 | Saturday | November | 2018 | 46 | Y | N | 1.9 | 18.1 | 29.9 | 0.0 | 90,498.92 | $83.27 | $7,535,580.94
2096 | 15 January 2017 | Sunday | January | 2017 | 3 | N | N | 15.2 | 21.5 | 22.7 | 0.0 | 90,294.00 | $55.44 | $5,006,287.29
2097 | 17 December 2016 | Saturday | December | 2016 | 51 | Y | N | 15.1 | 20.9 | 22.5 | 0.0 | 90,227.48 | $23.58 | $2,127,223.93
2098 | 22 December 2019 | Sunday | December | 2019 | 52 | N | N | 13.1 | 19.6 | 31.5 | 0.0 | 90,145.62 | $34.68 | $3,126,133.45
2099 | 1 January 2017 | Sunday | January | 2017 | 1 | N | Y | 16.8 | 21.1 | 8.5 | 0.0 | 89,403.15 | $25.85 | $2,310,781.86
2100 | 1 January 2020 | Wednesday | January | 2020 | 1 | N | Y | 1.11 | 24.9 | 31.6 | 0.0 | 89,077.86 | $50.92 | $4,536,005.22
2101 | 12 February 2017 | Sunday | February | 2017 | 7 | Y | N | 15.1 | 19.9 | 12.6 | 2.0 | 89,003.15 | $19.87 | $1,768,057.72
2102 | 14 January 2017 | Saturday | January | 2017 | 2 | N | N | 15.2 | 23.5 | 16.5 | 2.6 | 88,996.63 | $42.29 | $3,764,097.77
2103 | 2 December 2018 | Sunday | December | 2018 | 49 | Y | N | 1.12 | 19.5 | 18.9 | 10.4 | 88,903.07 | $24.46 | $2,174,158.54
2104 | 20 September 2020 | Sunday | September | 2020 | 39 | N | N | 17.1 | 22.0 | 16.7 | 0.0 | 86,891.23 | $23.05 | $2,002,958.83
2105 | 2 January 2017 | Monday | January | 2017 | 1 | N | Y | 14.8 | 17.8 | 7.8 | 0.4 | 86,507.47 | $30.62 | $2,648,746.52
2106 | 25 December 2017 | Monday | December | 2017 | 52 | N | Y | 15.1 | 21.4 | 29 | 0.0 | 85,094.38 | $44.90 | $3,820,763.24

## Slide 5: Demand Over Time
Energy Demand is consistent throughout the 2015-2020 time range however we can notice 3 spikes going above 160,000 MWh
each January for 3 years in a row.
165,070.60 – 19 Jan 2018
168,894.85 – 25 Jan 2019
170,653.84 – 31 Jan 2020
Chart: Demand MWh

## Slide 6: Effect of Weather
Effect of Max. Temperature on Demand
Effect of Solar Exposure on Demand
Effect of Rainfall on Demand
We can notice that the highest and most sustainable demand while the maximum temperature range is 10°-30°.
The demand is getting higher when the temperature is going high.
There is no demand when temperature is below 10°.
We can expect electricy demand on mean level throughout whole range of solar exposure.
Biggest, but even, demand is noticable on the 5°-20° range.
We can see spikes with higher solar exposure.
Rainfall does not affect demand, we can see that it sustains similar level.
01
02
03
Chart: Maximum solar exposure during the day in Celsius
Chart: Maximum temperature during the day in Celsius
Chart: Maximum rainfall during the day in Celsius

## Slide 7
Insights
Effect of Max Temp and School Days
On Energy Demand
Energy demand is trending down with temperature raise on school days.
Chart: Maximum temperature during the day in Celsius
Energy demand is trending up with temperature raise on non-school days.

## Slide 8
Chart: Maximum temperature during the day in Celsius
Insights
Effect of Max Temp and Holidays
On Energy Demand
Energy demand stays even with temperature raise on holidays.
Energy demand is trending down with temperature raise on working days.

## Slide 9: Year on Year Demand
Insights
Highest energy demand on July 2015.
Lowest energy demand on November 2018.
Chart: 
| January | February | March | April | May | June | July | August | September | October | November | December
2015 | 3737882.72 | 3605115.08 | 3649651.92 | 3588198.18 | 3877235.21 | 4024137.62 | 4273537.9 | 4095526.43 | 3702816.32 | 3631206 | 3477837.44 | 3838548.05
2016 | 3729075.05 | 3618267.45 | 3861047.59 | 3501930.64 | 3718467.11 | 4011405.29 | 4080168.28 | 4066526.83 | 3679700.57 | 3565917.93 | 3457230.79 | 3358434.58
2017 | 3497380.61 | 3209216.97 | 3636668.54 | 3231757.57 | 3733908.14 | 3942948.2 | 4023302.36 | 4016202.81 | 3585331.71 | 3444562.6 | 3585598.4 | 3510985.71
2018 | 3866763.48 | 3373941.22 | 3484438.03 | 3394011.94 | 3780826.98 | 3970824.47 | 4037121.58 | 3942254.81 | 3489468.2 | 3358959.72 | 3213625.58 | 3453621.3
2019 | 3776159.66 | 3251923.7 | 3615227.35 | 3258794.31 | 3694770.12 | 3889441.51 | 3997640.14 | 3963865.21 | 3488502.03 | 3439348.14 | 3251778.64 | 3420508.93
 | 2015 | 2016 | 2017 | 2018 | 2019 | Grand Total
January | 3,737,883 | 3,729,075 | 3,497,381 | 3,866,763 | 3,776,160 | 18,607,262
February | 3,605,115 | 3,618,267 | 3,209,217 | 3,373,941 | 3,251,924 | 17,058,464
March | 3,649,652 | 3,861,048 | 3,636,669 | 3,484,438 | 3,615,227 | 18,247,033
April | 3,588,198 | 3,501,931 | 3,231,758 | 3,394,012 | 3,258,794 | 16,974,693
May | 3,877,235 | 3,718,467 | 3,733,908 | 3,780,827 | 3,694,770 | 18,805,208
June | 4,024,138 | 4,011,405 | 3,942,948 | 3,970,824 | 3,889,442 | 19,838,757
July | 4,273,538 | 4,080,168 | 4,023,302 | 4,037,122 | 3,997,640 | 20,411,770
August | 4,095,526 | 4,066,527 | 4,016,203 | 3,942,255 | 3,963,865 | 20,084,376
September | 3,702,816 | 3,679,701 | 3,585,332 | 3,489,468 | 3,488,502 | 17,945,819
October | 3,631,206 | 3,565,918 | 3,444,563 | 3,358,960 | 3,439,348 | 17,439,994
November | 3,477,837 | 3,457,231 | 3,585,598 | 3,213,626 | 3,251,779 | 16,986,071
December | 3,838,548 | 3,358,435 | 3,510,986 | 3,453,621 | 3,420,509 | 17,582,099
Grand Total | 45,501,693 | 44,648,172 | 43,417,864 | 43,365,857 | 43,047,960 | 219,981,546